## EPC
Datacenter Environmental Performance Criteria
EPC for New Construction v2.2 rev.6
|  |  | Proposed Registered Project Checklist |  | NEW | OLD
Yes | No
|  | Sustainable Sites |  | 14 Points | 14% | 20.29%
Y |  | Prereq 1 | Construction Activity Pollution Prevention | Required
Y |  | Prereq 2 | Fuel Storage & Handling, Storm water protection | Required
|  | Credit 1 | Site Selection | 1
|  | Credit 2 | Development Density & Community Connectivity | 1
|  | Credit 3 | Brownfield Redevelopment | 1
|  | Credit 4 | Fuel Storage & Handling, Storm water protection | 1
|  | Credit 5.1 | Site Development, Protect or Restore Habitat | 1
|  | Credit 5.2 | Site Development, Maximize Open Space | 1
|  | Credit 5.3 | Site Development, Impacts to Local Infrastructure (Power Grid), Sewage (Cooling Tower) | 1
|  | Credit 5.4 | Site Development, Noise Impacts (Generators), (Cooling Towers) | 1
|  | Credit 5.5 | Site Development, Air Quality & Emissions Impacts | 1
|  | Credit 6.1 | Storm water Design, Quantity Control | 1
|  | Credit 6.2 | Storm water Design, Quality Control | 1
|  | Credit 7.1 | Heat Island Effect, Non-Roof | 1
|  | Credit 7.2 | Heat Island Effect, Roof | 1
|  | Credit 8.0 | Light Pollution Reduction | 1
Yes | No
|  | Water Efficiency |  | 9 Points | 9% | 7.246%
|  | Credit 1.1 | Water Efficient Landscaping, Reduce by 50% | 1
|  | Credit 1.2 | Water Efficient Landscaping, No Potable Use or No Irrigation | 1
|  | Credit 2 | On-site Water Treatment | 2
|  | Credit 3.1 | Water Use Reduction, 20% Reduction | 1
|  | Credit 3.2 | Water Use Reduction, 30% Reduction | 1
|  | Credit 3.3 | Water Use Reduction, Reduction in Cooling Tower Make-up, Condensate Re-use
|  |  | 20.0% Reduction | 1
|  |  | 30.0% Reduction | 1
|  |  | 40.0% Reduction | 1
|  | Energy Efficiency |  | 50 Points | 50% | 24.64%
Y |  | Prereq 1 | Fundamental Commissioning of the Building Energy Systems | Required
Y |  | Prereq 2 | Minimum Energy Performance (Revised ASHRAE 90.1 for Data Centers- By Tier) | Required
Y |  | Prereg 3 | Fundamental Refrigerant Management | Required
Y |  | Prereg 4 | Minimum Energy Sub-metering & Reporting of DCiE Metric | Required
|  | Credit 1 | Enhanced Energy Sub-metering & Automated Reporting of Metrics of Performance | 4
|  | Credit 2 | Optimize Infrastructure Energy Performance - Above ASHRAE 90.1 Minimum by Tier | 10 to 24
|  |  | 10.5% New Buildings or 3.5% Existing Building Renovations | 10
|  |  | 14% New Buildings or 7% Existing Building Renovations | 12
|  |  | 17.5% New Buildings or 10.5% Existing Building Renovations | 14
|  |  | 21% New Buildings or 14% Existing Building Renovations | 16
|  |  | 24.5% New Buildings or 17.5% Existing Building Renovations | 18
|  |  | 28% New Buildings or 21% Existing Building Renovations | 20
|  |  | 31.5% New Buildings or 24.5% Existing Building Renovations | 22
|  |  | 35% New Buildings or 28% Existing Building Renovations | 24
|  | Credit 3 | On-Site Renewable Energy | 5 to 10
|  |  | 2.5% Renewable Energy | 5
|  |  | 5.0% Renewable Energy | 6
|  |  | 7.5% Renewable Energy | 7
|  |  | 12.5% Renewable Energy | 8
|  |  | 15.0% Renewable Energy | 9
|  |  | 20.0% Renewable Energy | 10
|  | Credit 4 | On-Site Generation | 1 to 3
|  |  | 7.5% Reduction in Site Source Energy by On-Site Energy Generation | 1
|  |  | 12.5% Reduction in Site Source Energy by On-Site Energy Generation | 2
|  |  | 15.0% Reduction in Site Source Energy by On-Site Energy Generation | 3
|  | Credit 5 | Enhanced Commissioning | 2
|  | Credit 6 | Enhanced Refrigerant Management | 1
|  | Credit 7 | Enhanced Measurement & Verification | 2
|  | Credit 8 | Renewable Source (Green) Energy | 1 to 4
|  |  | 7.5% Renewable Source Energy | 1
|  |  | 12.5% Renewable Source Energy | 2
|  |  | 15.0% Renewable Source Energy | 3
|  |  | 17.5% Renewable Source Energy | 4
|  | Materials & Resources |  | 10 Points | 10% | 18.84%
Y |  | Prereq 1 | Storage & Collection of Recyclables | Required
|  | Credit 1.1 | Building Reuse, Maintain 75% of Existing Walls, Floors & Roof | 1
|  | Credit 1.2 | Building Reuse, Maintain 95% of Existing Walls, Floors & Roof | 1
|  | Credit 2.1 | Construction Waste Management, Divert 50% from Disposal | 1
|  | Credit 2.2 | Construction Waste Management, Divert 75% from Disposal | 1
|  | Credit 3.1 | Materials Reuse, 5% (HVAC Materials & Resources, Electrical wire & cable, Racks, etc.) | 1
|  | Credit 3.1 | Materials Reuse, 10% (HVAC Materials & Resources, Electrical wire & cable, Racks, etc.) | 1
|  | Credit 4.1 | Recycled Content, 10% (post-consumer + 1/2 pre-consumer wire & cable, racks, etc.) | 1
|  | Credit 4.2 | Recycled Content, 20% (post-consumer + 1/2 pre-consumer wire & cable, racks, etc.) | 1
|  | Credit 5.1 | Regional Materials, 10% Extracted, Processed & Manufactured Regionally | 1
|  | Credit 5.2 | Regional Materials, 20% Extracted, Processed & Manufactured Regionally | 1
Yes | No
|  | Indoor Environmental Quality |  | 7 Points | 7% | 21.74%
Y |  | Prereq 1 | Minimum IAQ Performance | Required
|  | Credit 1 | Outdoor Air Delivery Monitoring (Particulates) | 1
|  | Credit 3.1 | Construction IAQ Management Plan, During Construction | 1
|  | Credit 3.2 | Construction IAQ Management Plan, Before Occupancy | 1
|  | Credit 4.1 | Low Emitting Materials, Adhesives & Sealants | 1
|  | Credit 4.2 | Low Emitting Materials, Paints & Coatings | 1
|  | Credit 6 | Acoustic Environment | 1
|  | Credit 6.1 | Controllability of Systems, Lighting | 1
Y |  | Prereq 1 | IT Equipment/Operations Plan (Including Energy Efficiency Goals & Strategy) | Required
|  | Innovation & Design Process |  | 10 Points | 10% | 7.246%
|  | Credit 1.1 | Innovation in Design | 1
|  | Credit 1.2 | Innovation in Design | 1
|  | Credit 1.3 | Innovation in IT Design | 1
|  | Credit 1.4 | Innovation in IT Design | 1
|  | Credit 1.5 | Innovation in Design | 1
|  | Credit 1.6 | Innovation in Design | 1
|  | Credit 1.7 | Innovation in Design | 1
|  | Credit 1.8 | Innovation in Design | 1
|  | Credit 1.9 | Innovation in Design | 1
|  | Credit 1.10 | Innovation in Design | 1
|  | Total Available Points |  | 100 Points | 100 | 69
Certified: 38-46 points, Silver: 47-55 points, Gold: 56-74 points, Platinum: 75-100 points

## EPC Comparison
Datacenter Environmental Performance Criteria
EPC for New Construction v2.2 rev.6
| Proposed Registered Project Checklist | Before | After
Total Available Points |  | 69 Points | 100 Points | 100 | 69
Sustainable Sites |  | 14 Points | 14 Points
|  | 20.29% | 14%
Eliminated
Credit 4.1 | Alternative Transportation, Public Transportation Access |  | 1
Credit 4.2 | Alternative Transportation, Bicycle Storage & Changing Rooms |  | 1
Credit 4.3 | Alternative Transportation, Low-Emitting & Fuel-Efficient Vehicles |  | 1
Credit 4.4 | Alternative Transportation, Parking Capacity |  | 1
Added
Prereg 2 | Fuel Storage and Handling, Storm water discharge protection
Credit 5.3 | Site Development, Impacts to Local Infrastructure (Power Grid), Sewage (Cooling Tower) |  | 1
Credit 5.4 | Site Development, Noise Impacts (Generators), (Cooling Towers) |  | 1
Credit 5.5 | Site Development, Air Quality & Emissions Impacts |  | 1
Water Efficiency |  | 5 Points | 9 Points
|  | 7.246% | 9%
Added
Credit 3.3 | Water Use Reduction, 20%-40% Reduction in Cooling Tower Make-up, Condensate Re-use |  | 3
Energy Efficiency |  | 17 Points | 50 Points
|  | 24.64% | 50%
Added
Prereg 4 | Minimum Energy Sub-metering & Reporting of DCiE Metric |  | Required
Credit 1 | Enhanced Energy Sub-metering & Automated Reporting of Metrics of Performance |  | 6
Changed
Credit 2 | Optimize Infrastructure Energy Performance -( Above new ASHRAE 90.1 Minimum by Tier) |  | 10 to 24
| 10.5% New Buildings or 3.5% Existing Building Renovations |  | 10
| 14% New Buildings or 7% Existing Building Renovations |  | 12
| 17.5% New Buildings or 10.5% Existing Building Renovations |  | 14
| 21% New Buildings or 14% Existing Building Renovations |  | 16
| 24.5% New Buildings or 17.5% Existing Building Renovations |  | 18
| 28% New Buildings or 21% Existing Building Renovations |  | 20
| 31.5% New Buildings or 24.5% Existing Building Renovations |  | 22
| 35% New Buildings or 28% Existing Building Renovations |  | 24
Credit 3 | On-Site Renewable Energy |  | 5 to 10
| 2.5% Renewable Energy |  | 5
| 5.0% Renewable Energy |  | 6
| 7.5% Renewable Energy |  | 7
| 12.5% Renewable Energy |  | 8
| 15.0% Renewable Energy |  | 9
| 20.0% Renewable Energy |  | 10
Credit 4 | On-Site Generation (Based upon % Reduction in Source Energy) |  | 1 to 3
| 7.5% On-Site Energy Generation |  | 1
| 12.5% On-Site Energy Generation |  | 2
| 15.0% On-Site Energy Generation |  | 3
Credit 5 | Enhanced Commissioning |  | 2
Credit 7 | Enhanced Measurement & Verification |  | 2
Credit 8 | Renewable Source (Green) Energy |  | 1 to 4
| 7.5% Renewable Source Energy |  | 1
| 12.5% Renewable Source Energy |  | 2
| 15.0% Renewable Source Energy |  | 3
| 17.5% Renewable Source Energy |  | 4
Materials & Resources |  | 13 Points | 10 Points
|  | 18.84% | 10%
Eliminated
Credit 6 | Rapidly Renewable Materials |  | 1
Credit 7 | Certified Wood |  | 1
Indoor Environmental Quality |  | 15 Points | 7 Points
Eliminated |  | 21.74% | 7%
Prereq 2 | Environmental Tobacco Smoke (ETS) Control |  | Required
Credit 2.0 | Increased Ventilation |  | 1
Credit 4.3 | Low Emitting Materials, Carpet Systems |  | 1
Credit 4.4 | Low Emitting Materials, Composite Wood & Agrifiber Products |  | 1
Credit 5 | Indoor Chemical & Pollutant Source Control |  | 1
Credit 6.2 | Controllability of Systems, Thermal Comfort |  | 1
Credit 7.1 | Thermal Comfort, Design |  | 1
Credit 7.2 | Thermal Comfort, Verification |  | 1
Credit 8.1 | Daylight & Views, Daylight 75% of Spaces |  | 1
Credit 8.2 | Daylight & Views, Daylight 90% of Spaces |  | 1
Added
Credit 6 | Acoustic Environment |  | 1
Innovation & Design Process |  | 5 Points | 10 Points
| Changed | 7.246% | 10%
Credit 1.1 | Innovation in Design |  | 1
Credit 1.2 | Innovation in Design |  | 1
Credit 1.3 | Innovation in IT Design |  | 1
Credit 1.4 | Innovation in IT Design |  | 1
Credit 1.5 | Innovation in Design |  | 1
Credit 1.6 | Innovation in Design |  | 1
Credit 1.7 | Innovation in Design |  | 1
Credit 1.8 | Innovation in Design |  | 1
Credit 1.9 | Innovation in Design |  | 1
Credit 1.10 | Innovation in Design |  | 1
Certified: 38-46 points, Silver: 47-55 points, Gold: 56-74 points, Platinum: 75-100 points

## LEED Checklist
LEED for New Construction v2.2
Registered Project Checklist
Project Name: LBNL Datacenter Environmental Performance Criteria (EPC)
Project Address:
Yes | ? | No
0 | 0 | 0 |  | Sustainable Sites |  |  | 14 Points
Y |  |  | Prereq 1 |  | Construction Activity Pollution Prevention |  | Required
0 |  | 0 | Credit 1 |  | Site Selection |  | 1
| 0 |  | Credit 2 |  | Development Density & Community Connectivity |  | 1
|  | 0 | Credit 3 |  | Brownfield Redevelopment |  | 1
| 0 |  | Credit 4.1 |  | Alternative Transportation, Public Transportation Access |  | 1
0 |  |  | Credit 4.2 |  | Alternative Transportation, Bicycle Storage & Changing Rooms |  | 1
0 |  |  | Credit 4.3 |  | Alternative Transportation, Low-Emitting & Fuel-Efficient Vehicles |  | 1
|  | 0 | Credit 4.4 |  | Alternative Transportation, Parking Capacity |  | 1
0 |  |  | Credit 5.1 |  | Site Development, Protect or Restore Habitat |  | 1
0 |  |  | Credit 5.2 |  | Site Development, Maximize Open Space |  | 1
0 |  |  | Credit 6.1 |  | Stormwater Design, Quantity Control |  | 1
|  | 0 | Credit 6.2 |  | Stormwater Design, Quality Control |  | 1
|  | 0 | Credit 7.1 |  | Heat Island Effect, Non-Roof |  | 1
| 0 |  | Credit 7.2 |  | Heat Island Effect, Roof |  | 1
| 0 |  | Credit 8 |  | Light Pollution Reduction |  | 1
Yes | ? | No
0 | 0 | 0 |  | Water Efficiency |  |  | 5 Points
0 | 0 |  | Credit 1.1 |  | Water Efficient Landscaping, Reduce by 50% |  | 1
|  | 0 | Credit 1.2 |  | Water Efficient Landscaping, No Potable Use or No Irrigation |  | 1
| 0 |  | Credit 2 |  | Innovative Wastewater Technologies |  | 1
0 |  |  | Credit 3.1 |  | Water Use Reduction, 20% Reduction |  | 1
0 |  |  | Credit 3.2 |  | Water Use Reduction, 30% Reduction |  | 1
0 | 0 | 0 |  | Energy & Atmosphere |  |  | 17 Points
Y |  |  | Prereq 1 |  | Fundamental Commissioning of the Building Energy Systems |  | Required
Y |  |  | Prereq 2 |  | Minimum Energy Performance |  | Required
Y |  |  | Prereq 3 |  | Fundamental Refrigerant Management |  | Required
*Note for EAc1: All LEED for New Construction projects registered after June 26th, 2007 are required to achieve at least two (2) points under EAc1.
0 | 0 | 0 | Credit 1 |  | Optimize Energy Performance |  | 1 to 10
[6 empty] | 10.5% New Buildings or 3.5% Existing Building Renovations | 1
[6 empty] | 14% New Buildings or 7% Existing Building Renovations | 2
[6 empty] | 17.5% New Buildings or 10.5% Existing Building Renovations | 3
[6 empty] | 21% New Buildings or 14% Existing Building Renovations | 4
[6 empty] | 24.5% New Buildings or 17.5% Existing Building Renovations | 5
[6 empty] | 28% New Buildings or 21% Existing Building Renovations | 6
[6 empty] | 31.5% New Buildings or 24.5% Existing Building Renovations | 7
[6 empty] | 35% New Buildings or 28% Existing Building Renovations | 8
[6 empty] | 38.5% New Buildings or 31.5% Existing Building Renovations | 9
[6 empty] | 42% New Buildings or 35% Existing Building Renovations | 10
0 | 0 | 0 | Credit 2 |  | On-Site Renewable Energy |  | 1 to 3
[6 empty] | 2.5% Renewable Energy | 1
[6 empty] | 7.5% Renewable Energy | 2
[6 empty] | 12.5% Renewable Energy | 3
0 |  |  | Credit 3 |  | Enhanced Commissioning |  | 1
| 0 |  | Credit 4 |  | Enhanced Refrigerant Management |  | 1
|  | 0 | Credit 5 |  | Measurement & Verification |  | 1
| 0 |  | Credit 6 |  | Green Power |  | 1
Yes | ? | No
0 | 0 | 0 |  | Materials & Resources |  |  | 13 Points
Y |  |  | Prereq 1 |  | Storage & Collection of Recyclables |  | Required
| 0 |  | Credit 1.1 |  | Building Reuse, Maintain 75% of Existing Walls, Floors & Roof |  | 1
0 |  |  | Credit 1.2 |  | Building Reuse, Maintain 95% of Existing Walls, Floors & Roof |  | 1
0 |  |  | Credit 1.3 |  | Building Reuse, Maintain 50% of Interior Non-Structural Elements |  | 1
|  | 0 | Credit 2.1 |  | Construction Waste Management, Divert 50% from Disposal |  | 1
0 |  | 0 | Credit 2.2 |  | Construction Waste Management, Divert 75% from Disposal |  | 1
0 |  |  | Credit 3.1 |  | Materials Reuse, 5% |  | 1
0 |  |  | Credit 3.2 |  | Materials Reuse,10% |  | 1
|  | 0 | Credit 4.1 |  | Recycled Content, 10% (post-consumer + ½ pre-consumer) |  | 1
| 0 |  | Credit 4.2 |  | Recycled Content, 20% (post-consumer + ½ pre-consumer) |  | 1
0 | 0 |  | Credit 5.1 |  | Regional Materials, 10% Extracted, Processed & Manufactured Regionally |  | 1
0 |  |  | Credit 5.2 |  | Regional Materials, 20% Extracted, Processed & Manufactured Regionally |  | 1
|  | 0 | Credit 6 |  | Rapidly Renewable Materials |  | 1
0 |  |  | Credit 7 |  | Certified Wood |  | 1
Yes | ? | No
0 | 0 | 0 |  | Indoor Environmental Quality |  |  | 15 Points
Y |  |  | Prereq 1 |  | Minimum IAQ Performance |  | Required
Y |  |  | Prereq 2 |  | Environmental Tobacco Smoke (ETS) Control |  | Required
0 |  |  | Credit 1 |  | Outdoor Air Delivery Monitoring |  | 1
|  | 0 | Credit 2 |  | Increased Ventilation |  | 1
| 0 |  | Credit 3.1 |  | Construction IAQ Management Plan, During Construction |  | 1
0 | 0 |  | Credit 3.2 |  | Construction IAQ Management Plan, Before Occupancy |  | 1
0 |  |  | Credit 4.1 |  | Low-Emitting Materials, Adhesives & Sealants |  | 1
|  | 0 | Credit 4.2 |  | Low-Emitting Materials, Paints & Coatings |  | 1
| 0 |  | Credit 4.3 |  | Low-Emitting Materials, Carpet Systems |  | 1
0 | 0 |  | Credit 4.4 |  | Low-Emitting Materials, Composite Wood & Agrifiber Products |  | 1
0 |  |  | Credit 5 |  | Indoor Chemical & Pollutant Source Control |  | 1
|  | 0 | Credit 6.1 |  | Controllability of Systems, Lighting |  | 1
| 0 |  | Credit 6.2 |  | Controllability of Systems, Thermal Comfort |  | 1
0 | 0 |  | Credit 7.1 |  | Thermal Comfort, Design |  | 1
0 |  |  | Credit 7.2 |  | Thermal Comfort, Verification |  | 1
|  | 0 | Credit 8.1 |  | Daylight & Views, Daylight 75% of Spaces |  | 1
| 0 |  | Credit 8.2 |  | Daylight & Views, Views for 90% of Spaces |  | 1
Yes | ? | No
0 | 0 | 0 |  | Innovation & Design Process |  |  | 5 Points
0 |  |  | Credit 1.1 |  | Innovation in Design: Provide Specific Title |  | 1
|  | 0 | Credit 1.2 |  | Innovation in Design: Provide Specific Title |  | 1
| 0 |  | Credit 1.3 |  | Innovation in Design: Provide Specific Title |  | 1
0 | 0 |  | Credit 1.4 |  | Innovation in Design: Provide Specific Title |  | 1
0 |  |  | Credit 2 |  | LEED® Accredited Professional |  | 1
Yes | ? | No
0 | 0 | 0 |  | Project Totals (pre-certification estimates) |  |  | 69 Points
Certified: 26-32 points, Silver: 33-38 points, Gold: 39-51 points, Platinum: 52-69 points